Tender for Modernization of Existing Science Labs in Kendriya Vidyalayas.

INDEX

| SECTION | DESCRIPTION | PAGE NUMBERS |
| --- | --- | --- |
| 1 | CHAPTER -1 SCHEDULE OF TENDER PROCESS & ITS AMENDMENTS | 2 |
| 2 | CHAPTER -2 PRE BID CRITERIA | 3 |
| 3 | CHAPTER -3 SCOPE OF WORK | 4 |
| 4 | CHAPTER -4 GENERAL INSTRUCTION TO BIDDERS | 5 - 6 |
| 5 | CHAPTER -5 SPECIAL CONDITION OF CONTRACT | 7-11 |
| 6 | CHAPTER -6 EVALUATION & SELECTION CRITERIA | 12 |
| 7 | CHAPTER -7 PERFORMA & ANNEXURES | 13 -94 |

Annexure

| S. NO | NAME | PAGE NO |
| --- | --- | --- |
| ANNEXURE- 1 | PROJECT PROFILE | 13 |
| ANNEXURE -2 | SELF DECLARATION | 14 |
| ANNEXURE- 3 | REPRESENTATIVE AUTHORIZATION LETTER | 15 |
| ANNEXURE- 4 | ACCEPTANCE OF TERMS & CONDITIONS CONTAINED IN THE TENDER DOCUMENTS. | 16 |
| ANNEXURE- 5 | BRIEF VENDOR PROFILE | 17 |
| ANNEXURE- 6 | TECHNICAL BID (BID PARTICULARS) | 18 – 83 |
| ANNEXURE- 7 | BID LETTER (TECHNICAL BID) | 84 – 85 |
| ANNEXURE- 8 | DECLARATION REGARDING ELECTICAL SAFETY STANDARDS | 86 |
| ANNEXURE- 9 | FINANCIAL BID | 87 – 88 |
| ANNEXURE- 10 | LIST OF SCHOOLS | 89 - 94 |

CHAPTER-1

1.1 SCHEDULE OF TENDER PROCESS & ITS AMENDMENT

a)	The Tender will have 3 (Three) Parts viz., Prequalification Bid, Technical Bid & Commercial Bid for the following:

Schedule (a) – Turnkey Job for supply of Equipments, Installations and Training to 211 Nos of Schools 	(Annexure -10) at site.

b)	Issue of Tender document- From 30.05.2014 to 07.06.2014, 12:00 Noon (Copy of tender document will be available in the website 	http://www.kvsangathan.nic.in).

c)	Cost of the tender document (Non-refundable): Rs. 5,000/- (Five Thousand only) in Indian Rupees Only.

d)	The original tender document along with amendments (if any) can be obtained before 07.06.2014, 12:00 Noon from Kendriya Vidyalaya Sangathan, 18, Institutional Area, Shaheed Jeet Singh Marg, New Delhi -110016 after submission of Tender Document Fee of Rs. 5,000/- (Five Thousand only) in form of a Demand Draft, drawn on a scheduled bank, in favor of the Commissioner of Kendriya Vidyalaya Sangathan, New Delhi. Receipt shall be issued against the tender cost and the receipt is to be submitted with Prequalification bid

e) 	Pre Bid queries are to be sent at acedpkvs@gmail.com latest by 12.06.2014. Pre Bid 	queries will be 	responded by 16.06.2014.

f) 	Receipt of Bids-on or before 23.06.2014 up to 15.00 hrs. at Kendriya Vidyalaya Sangathan, 18, 	Institutional 	Area, Shaheed Jeet Singh Marg, New Delhi -110016. Bid received later than above schedule will not be 	entertained.

g)	Prequalification Bid, Technical Bid and Commercial Bid should be submitted in separate envelopes clearly 	indicating the Name of Bid and all packed together in a outer envelope mentioning “Tender for Turnkey Job for 	Supply of Equipments, Installations and Training to 211 Nos of Schools (Annexure-10) at site.

g)	Opening of Prequalification Bids & Eligibility Claims and EMD -on 27.06.2014 at 3:00PM in the office of DC 	(EDP) of Kendriya Vidyalaya Sangathan, New Delhi in the presence of bidders 	who may want to attend.

h)	Opening of Technical Bids-on 30.06.2014 at 15.00hrs. Technical Bid will be opened only for qualified bidders as 	per pre qualification.

I)	Opening of Commercial Bids- will be opened only for bidders who qualify Technical Bid.

Notwithstanding anything else contained to the contrary in this tender document, Kendriya Vidyalaya Sangathan, New Delhi reserves the right to cancel / withdraw / modify fully or partially the “Invitation of Bid” or to reject one or more of the bids without assigning any reason and shall bear no liability whatsoever consequent upon such a decision.

1.2 AMENDMENT OF INVITATION

At any time prior to the deadline for submission of bids, The Commissioner of Kendriya Vidyalaya Sangathan, New Delhi reserves the right to add / modify / delete any portion of the document by issuance of an addendum, which would be published on the website and will also be made available to the all the bidders who have indicated their intention to bid. The addendum shall be binding on all bidders.

CHAPTER- 2

PRE-QUALIFICATION CRITERIA

Technical Bid will be opened only for those who will qualify the following pre-qualification norms:-

a.1	Receipt of tender cost Rs. 5000/- issued by KVS .

a.2	The Bidder should have furnished the EMD or Rs. 10 lakh in form of Demand Draft only.

a.3	The applicant must be either a firm registered under the Indian Partnership Act or a company registered under 	the Indian Companies Act. 1956.  (Doc Proof). In case of foreign supplier, the supplier should submit 	Registration Certificate issued by the competent authority in their Country.  Indian supplier will get preference than foreign supplier.

a.4	The Company should be in existence for the last 5 (five) Years.

a.5	The Company should either be a Manufacturer or Authorized Distributor. Manufacturer will submit manufacturing license. Manufacturer will get preference over authorized distributors.

a.6	The applicant should have an annual turnover of at least Rs. 20 Crore in any one of the three previous 	Financial Years and must submit certified copy of the audited balance  sheet, as a proof of annual 	turnover stated.

a.7	Applicants should not be under a declaration of ineligibility for corrupt and fraudulent practices issued by Govt. 	of India / State Govts. A self -declaration certificate should be enclosed as per Annexure -2

a.8	Printed Catalogue of all equipments with Pictures having details about experiments to be performed (wherever applicable) should be furnished as per technical specifications  (Annexure-6).

CHAPTER – 3

3.1  	SCOPE OF WORK

a.	The scope of work will include Supply, Installation and Training as per technical specifications (Annexure- 6)  	211 No of Schools (Annexure-10) at site.

b.	Warranty and Guarantee: The Equipment supplied shall be covered for 2 years Warranty from date of 	delivery.  Glassware and Biology models shall be exempted from Warranty Clause.

c.	Installation / Training: Supplier will conduct working demonstration of all equipments at all delivery sites 	(Annexure-10) and obtains a certificate for satisfactory performance report.

d.	Instruction Manual: Supplier will provide instruction manual of all equipments mentioning List of Experiments 	(wherever applicable) and procedure to perform as per technical specifications (Annexure- 6).

e.	Safety:  Safety standards for Mains Operated Equipment should be ensured. Supplier should perform High 	Voltage Test (At 1.5KV), Earth Test (at 25Amp) and Insulation Test (at 1000 Volts) before supplying the 	equipment. A declaration regarding safety has to be furnished as per Annexure -8.

f.	Pre-Dispatch Inspection: KVS will conduct pre-dispatch inspection to ascertain quality, quantity and 	performance of all equipments and a site wise pre-dispatch inspection report shall be prepared. The Bidder will 	dispatch the material after the clearance of pre-dispatch inspection only.

g.	Packaging: The Supplier should ensure proper packaging of all the equipments and breakage, if any will be to 	the supplier's account.

CHAPTER – 4

GENERAL INSTRUCTIONS OF THE BIDDERS

All the bidders must carefully observe the following instructions. Offers / Tenders not strictly in accordance with these instructions are liable to be rejected:-

4.1	Tender should be submitted through registered Post / Speed Post / Country / By Hand (Through 	Authorized Representative) in separate sealed covers both for technical Bid & Financial Bid, each cover should be super scribed with the words, Technical / Financial Bid & Tender No. The earnest money in the form of Demand Draft shall be submitted in a separate sealed envelope 	and super scribed “EMD”. All these documents i.e. Technical and Financial Bid & EMD in separate sealed cover should be sent in one envelope at address “DC (EDP) KVS (HQ), KENDRIYA VIDYALAYA SANGATHAN, 18, INSTITUTIONAL AREA, SHAHEED JEET SINGH MARG, NEW DELHI -110016”. Tender received not in proper sealed cover or received telegraphically shall be rejected.

4.2	Offers / Tenders shall positively reach before the stipulated time and date prescribed for their receipt i.e. upto 15.00 hrs. on 23.06.2014. Those received late will not be considered / opened 	at all regardless of the date of posting of the tender. The Kendriya Vidyalaya Sangathan Board shall take no cognizance of postal delay(s).

4.3	Tender should be typed or written in ink, offers/ tenders written in pencil shall be rejected.

4.4	The prices quoted should be inclusive of all Taxes/ VAT/ Duties/ Cess/ Customs/ Octroi/ Loading/ Installation/ 	Bank Charges/ Service Tax etc. are applicable. FOR delivery at site destination (Annexure 10). C Form will not be 	issued.

4.5	The rates should be quoted in Indian Rupees Only in figure as well as in Words.

4.6	Bank charges, if any, will be to the account of the bidder.

4.7	The Bidders should indicate specifically the Delivery Schedule. The bids of the suppliers not conforming to KVS's prescribed delivery schedule shall be loaded in line with the penalty clause i.e 1/2% of the total cost per week of delivery period quoted in excess of that prescribed subject to a maximum of 10%.

4.8	The period of the validity of offers should not be less than 60 days from the date of opening of tender.

4.9	The KVS reserves the right to accept or reject any or all tenders without assigning any reason whatsoever.

4.10	Amendment in bid document or price and any other conditions, after the opening of the tenders 	shall not be entertained.

4.11	Offers/ Tenders will be opened on the date and time prescribed by KVS in the presence of authorized representatives of bidders, who actually submitted the tender, if they present themselves at the time of opening of tenders. In case the date of opening of tenders falls on a holiday or holiday is subsequently declared on that date the tender will be opened on the next working day following the holiday.

4.12	The tenders once submitted shall not be returned to the bidder and shall be retained by KVS.

4.13	The Bidder may modify or withdraw his tender by giving notice in writing before the deadline for submission of tender. The modification or withdrawal words shall be marked on the envelope. The withdrawn tender document shall not be returned.

4.14.	 The bidder should submit a list of orders of the offered work executed/under execution with complete details as per Annexure-I.

4.15. 	The bidder should carefully read and study every clause of this specification and offer his comments on each clause of this specification in his tender. Silence of the bidder on any clause of this specification shall be taken, as acceptability of the said clause to the bidder and accordingly the said clause will be provided in the purchase order.

4.16.	The Bidder shall quote prices only as per the Technical Specifications (Annexure-6). Deviations, if any, should be clearly stated.

4.17	The KVS may call for some selective samples during Technical evaluation.

4.18	The KVS may inspect the unfinished / incomplete goods in the production process before completion of the ordered goods. Moreover, the KVS can also inspect the equipment / in house testing facility used for ensuring Safety standards for Mains Operated Equipment covering parameters - High Voltage Test (At 1.5KV), Earth Test (at 25Amp) and Insulation Test (at 1000 Volts).

4.19	Quantity to be supplied to the schools shall be as specified in the Financial Bid Format.

CHAPTER -5

SPECIAL CONDITION OF CONTRACT

5.1	DOCUMENTS TO BE FURNISHED WITH PRE-QUALIFICATIONS BID

a.	As per pre-qualification criteria of pre-qualification bid along with all supporting document

b.	Self-Declaration of ineligibility for corrupt and fraudulent practices (Annexure-2)

c.	Representative authorization letter (Annexure-3)

d.	Copy of Income Tax Clearance, Service Tax Clearance and VAT Clearance (as Applicable). In the case of 	foreign company, company’s Registration with competent authority in their respective country.

e. 	Brief profile of the company (Annexure-5).

5.2	DOCUMENTS TO BE FURNISHED WITH TECHNICAL BID

This part of the bid must comprise of the following documents

a.	Details of the job undertaken as per scope of work.(Annexure-1 )

b.	Acceptance of terms & conditions contained in the tender documents (Annexure-4)

c.	Bid Particulars (Annexure-6)

d.	Bid Letter (Annexure-7)

e.	Soft Copy of the presentation on CD/DVD/Pen Drive (2 set each)

f.	Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments 	(wherever asked in Annexure -6).

g.	ISO Certificate

h.	Declaration regarding Electrical Safety Standards (Annexure -8).

5.3	COMMERCIAL BID

The Commercial Bid shall be given in prescribed format (Annexure -9). Commercial Bid will be opened only when the bidder qualifies technical bids by getting 80% or above out of maximum marks.

5.4	 Other Condition

- Loading, if any, on the bids of the Bidders who have not agreed to the following KVSs terms & conditions.

  - Bidders offering delivery periods longer than the specified delivery period shall be loaded @1/2 % per week or part thereof for their excess period subject to a maximum of 10%.

  - The KVS may adopt any additional evaluation criteria which is considered fair & equitable, so as to bring price bid on an equal footing for proper comparison with other bids

- The supplier has to sign integrity pact with KVS.

5.5	 EARNEST MONEY AND SECURITY DEPOSIT:

(i) 	A earnest money of Rs. 10 Lakhs in the form of DD should be submitted along with the tender in the favor of KVS, Hqrs. New Delhi. Earnest money deposit DD shall necessarily accompany the sealed tender, without which the tender shall be rejected forthwith and the tenders shall be sealed.

(ii) 	Earnest money deposit furnished with the tender in the form of a cheque / Bank Guarantee or in any other form not specifically approved by the KVS, shall not be accepted under any circumstances, nor shall a request from the Bidder for the transfer of earnest money, security deposit furnished against any previous tender to the tender under consideration, be entertained.

(iii)	As soon as, the tender has been decided upon and the purchase order placed on the selected supplier or 	suppliers, the earnest money deposit of the unsuccessful Bidders shall be released to them forthwith by the 	purchasing department through the Accounts Officer concerned, without waiting for any formal application in this 	regard from the unsuccessful Bidders. The purchasing department shall ensure that the refund of earnest 	money deposit so allowed is made within 30 days of the decision on the purchase case by the purchase 	approving authority.

(iv) 	The earnest money of successful Bidder may be released on submission of Bank Guarantee of the 5% of total value of tender as security deposit valid for Warranty period after the completion of supply.

(v)	 Transfer of security deposit from one purchase order/contract to another will not be permitted.

(vi) 	The earnest money/security deposit taken from the firms under this para shall be forfeited in part or in full under the following circumstances

a. 	If the Bidder withdraws his tender at any stage during the currency of his validity period, his earnest money shall stand forfeited in full.

b. 	If the P.O. has been issued but the supplier refuses to comply with it, the earnest money 	deposited by him, shall be forfeited in full, irrespective of the fact whether the KVS sustains any loss on account of his default or not. This forfeiture shall be without prejudice to the right of the 	KVS to claim any other damages as admissible under the law as well as to take such executive action against the supplier as blacklisting, etc.

c.	 Where the purchase order has been accepted but the supplier stops making the supplies after partially complying  the purchase order, the security deposit shall be retained and adjusted against any loss that may be caused to the KVS through risk purchase from alternative source and/or any other damage recoverable from the supplier under the terms of the contract.

d. 	In the event of a breach of contract in any manner, the security deposit shall be forfeited and adjusted against the claim of the KVS on the supplier for any damages or for any loss sustained by the KVS on account of such breach.

5.6	 TERMS AND CONDITIONS OF COMMERCIAL BID

a. DELIVERY AND COMMISSIONING PERIOD

The bidder shall have to complete the Supply, Installation and Training within 24 weeks from the date of issue of the Work Order.

ln case the supplier is unable to complete whole or any items of work within stipulated period, for recognized reasons of "Force Majeure“ mentioned in clause-b below for which he shall be responsible to furnish, well in time, sufficient evidence and data to the satisfaction of the K\/S to prove the existence of conditions mentioned in the clause-b so as to justify grant of extension by the KVS of the ‘Delivery, Installation & Commissioning Period‘ mentioned above. Such extension will be granted by the KVS for the period for which the completion of work is proved by the supplier to have been delayed for the said reasons due to ‘Force Majeure‘. If the material is installed or commissioned by the supplier after the expiry of the said period without any approval from the K\/S, such a supply will be at the sole liability and risk of the supplier.

b. FORCE MAJEURE:

The Supplier shall not be liable for any Penalty charges due to delay in manufacture or delivery of material! work/service resulting from any causes beyond the company's reasonable control including but not limited to compliance with regulations, orders or instructions of Center/State or Municipal Govt. or Agency thereto, Acts of God, Acts of Civil and Military authorities, fires, floods, strikes Lockouts, freight embargoes, war risks, riots and civil corn motion’s and the supplier will seek extension of delivery period within three weeks of the occurrence of any such event and clearly state the anticipated delay in supply on account of such events. On receipt of such a request from the Supplier, the delivery period be extended up to the time requested for by the Supplier, subject to the further condition that if the delivery period is likely to be extended by more than sixty days on account of any event the KVS will be at liberty to cancel the un-executed portion of the Purchase Order without assigning any reason and without payment of any compensation.

c.	EXTENSION OF DELIVERY PERIOD

Any genuine delay in approval of technical details, preparation of site, issuance of amendment of purchase order, conducting inspection and approval of inspection tests/ test certiﬁcate for allowing dispatches etc. will count towards extension of delivery period by corresponding _`period other than, admissible under. .Force Majeure Conditions, if any, substantiated by the supplier and duly accepted by the purchasing authority.

d. PENALTY CHARGES

lf the supplier fails to abide by the provisions of Delivery and commissioning period, he shall be liable to pay Penalty Charges @ 1/2% per week or part thereof of the ex-works delivery price excluding taxes and duties (but including freight charges where break-up of FOR destination price is not available) of such portion of material as has not been delivered, installed or commissioned within the delivery and commissioning period subject to maximum of 10% of the contract value of the delayed/undelivered portion of the material. The penalty shall not be applicable to the submission of the permissions /clearances provided the permissions/clearances have been applied within 8 weeks from the date of receipt of order.

f. TDS, WORKS CONTRACT TAX, OTHER TAXES etc.

The TDS, works contract tax, other taxes etc, if any, shall be deducted as per rules.

g. NEGLIGENCE:

If the firm neglects to execute the work with due diligence and expedition or refuses or neglects to comply with any reasonable order given in writing by the KVS in connection with Purchase Order or shall contravene the provisions of the Purchase Order, the KVS may give 21 days’ notice, in writing, to the firm to make good the failure, neglect or contravention complained of and should the firm fall to comply with the notice within reasonable time from the date of service thereof, in case of failure, neglect or contravention capable of being made good, within that time or otherwise within such time as may be reasonably necessary for making it good, then and in such cases, the KVS shall be at liberty to take the Contract wholly or partly out of the hands of the supplier and reconstruct at reasonable price with any other person or persons. ln such an event it shall be lawful for the KVS to retain any such balance which may otherwise be due by him to the firm on any account including the amount of Bank Guarantee and apply the same towards the execution of the whole or balance of the works so re-contracted, as aforesaid. lf no such balance is due by the KVS to the ﬁrm or if due, is not sufficient to cover the amount thus recoverable from the ﬁrm, it shall be lawful for the KVS to recover the whole or balance of the amount from the firm by action of law.

h. BANKRUPTCY:

lf the supplier shall commit any act of bankruptcy or being a Corporation, commence to be wound up except for reconstruction purposes, or carry on its business under a Receiver, the executors, successor or other representative in law of the estate of the supplier or any such Receiver, liquidator, or any person in whom the contract may become vested, shall forthwith give notice thereof in writing to the KVS and shall for one month during which the supplier shall take all reasonable steps to prevent stoppage of the work, have the option of carrying out the contract subject to the supplier providing such Guarantee as may be required by the KVS but not exceeding the value of the work for the time being remaining unexecuted. In the event of stoppage of the work the period of the option under this clause shall be fourteen days only. Provided that should the above option not be exercised, the contract may be terminated by the KVS by notice in writing to the supplier and the same power and provision reserved to the KVS in the last proceeding clause of taking the work out of the supplier's hands shall immediately become operative.

i. ARBITRATION

lf at any time, any question, dispute or difference whatsoever, shall arise, between the KVS and the Supplier, upon or in relation to or in connection with the contract, the provisions of Indian Arbitration and Conciliation Act-1996 and of the Rules there-under and any Statutory Amendment/ Modiﬂcation or re-enactment thereof for the time being in-force, shall be deemed to apply to and be incorporated in the contract.

j. CANCELLATION OF WORK ORDER:

The KVS shall have the right to amend or cancel the order at any time before the receipt of intimation regarding manufacturing of material if he is satisﬁed that the delay in execution of the order by the supplier is willful and detrimental to the interests of the KVS. In case where after the commencement of manufacture, there is a willful delay on the pan of the supplier in the dispatch/ manufacture of the material, the KVS may cancel the order for whole/unexecuted portion after giving a notice of 15 days to the supplier.

k. JURISDICTION OF COURT:

ln case of any dispute between the parties, the Courts at Delhi only shall have the jurisdiction to settle/ decide and adjudicate upon such matters. Before approaching the court of law, and dispute or difference arising in connection with the contract shall be referred by either party for arbitration in accordance with Clause- 16 above.

l. SIGNING OF WORK ORDER

The supplier will be furnished with two copies of the purchase order one copy to be retained by the supplier and the second copy of the purchase order will be returned by the supplier to the KVS after signing each and every page of the P.0. by his authorized representative in token of the un-conditional acceptance of the purchase order. The supplier will also furnish documentary proof evidencing that the signatory is an authorized representative of the suppliers.

CHAPTER - 6

EVALUATION & SELECTION CRITERIA

Quality-cum-Cost Based Selection (QCBS) method shall be followed for choosing the company, 70% weightage shall be given for Quality (Technical Bid Score) and 30% weightage shall be given for commercial quote using following formula,

Sud, = Technical Score/Maximum Technical Score '100

Sm = Minimum Commercial Quote / Maximum Commercial Quote "100

Sm, = Sm “7O% + Sm. ‘30%

Technical Evaluation Table

| Sl. No | Item | Specifications and Marks |  |  |
| --- | --- | --- | --- | --- |
| 1 | Domestic Preference | Specifications | Indian | Foreign |
|  |  | marks | 5 | 0 |
| 2 | Manufacturer / authorize distributor | Specifications | Manufacturer | Authorize Distributor |
|  |  | marks | 10 | 0 |
| 3 | Declaration Regarding Safety Test | Specifications | Yes | No |
|  |  | marks | 5 | 0 |
| 4 | Past Experience | Specifications | Yes | No |
|  |  | marks | 5 | 0 |
| 5 | ISO Certification | Specifications | Yes | No |
|  |  | marks | 5 | 0 |
| 6 | Technical Scores | Specifications | Shall be evaluated as per Annexure -6 |  |
|  |  | marks | 120 |  |
| Total Maximum Marks: |  |  |  | 150 |

Technical Score (TS) shall be calculated mainly on basis of Compliance of Technical Specifications and detailed Instruction Manual (wherever required) by using the following formula:

Technical Score (TS) = Total TS obtained by the Bidder x 120 / 5 x No of Items.

Financial Qualification.

This opening of ﬁnancial bid will be done only for bidders scoring 120 and above as per technical evaluation table.

CHAPTER- 7

PERFORMA & ANNEXURE

ANNEXURE- 1

6	PROFORMA & ANNEXURE

  - PROJECT PROFILE

Company Name & Address

| Name |  |  |  |
| --- | --- | --- | --- |
| Address |  |  |  |
| City |  | District |  |
| State |  | Pin |  |
| Telephone |  | Cell |  |
| Fax |  | E-mail |  |

Details of similar projects already undertaken:-

Signature of the Bidder

Date:

Place:

ANNEXURE — 2

7.2 SELF DECLARATION

Date :

Ref: _____________________________________

To,

The Commissioner,

Kendriya Vidyalaya Sangathan,

18, Institutional Area,

Shaheed Jeet Singh Marg,

New Delhi - 110 016.

ln response to the Tender No.- KVS (Hq.)/EDP(LAB)/2014 I /We hereby declare that our company_______________________ is, having unblemished past record, and was not declared ineligible for corrupt & fraudulent practices either indeﬁnitely or for a particular period of time.

Signature of the Bidder

Date:

Place:

ANNEXURE-3 _

7.3 REPRESENTATIVE AUTHORIZATION LETTER

Date :

Ref :_________________________________

To,

The Commissioner,

Kendriya Vidyalaya Sangathan,

18, Institutional Area,

Shaheed Jeet Singh Marg,

New Delhi - 110 016.

Ms, /Mr,_____________________ is hereby authorized to sign relevant documents on behalf of the Company in dealing with Tender No.- KVS (Hq.)/EDP(LAB)/2014, S/He is also authorized to attend meetings & submit technical & commercial information as may be required by you in the course of processing above said application.

Thanking you,

Authorized Signatory

Representative Signature

Signature attested

ANNEXURE-4

7.4 ACCEPTANCE OF TERMS & CONDITIONS CONTAINED IN THE TENDER DOCUMENTS

To,

The Commissioner,

Kendriya Vidyalaya Sangathan.

18, Institutional Area,

Shaheed Jeet Singh Marg,

New Delhi - 110 016.

Sir,

l have carefully gone through the Terms & Conditions contained in the Tender No.- KVS (Hq.)/EDP(LAB)/2014, regarding Supply, Installation and Training Equipments for KVS.

l declare that all the provisions, of this Tender Document are acceptable to my company, I further certify that I am an authorized signatory of my company and am, therefore, competent to make this declaration

Signature of witness 							Signature of the Bidder

Date: 									Date:

Place: 									Place:

ANNEXURE -5

7.5 BRIEF VENDOR PROFILE

| 01 | Name of the Firm / Company |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 02 | Year established |  |  |  |  |
| 03 | Address of Office |  |  |  |  |
| 04 | Telephone No. |  |  |  |  |
| 05 | Fax No. |  |  |  |  |
| 06 | E-mail Address |  |  |  |  |
| 07 | Website |  |  |  |  |
| 08 | No. of years of Proven Experience of providing similar Services. |  |  |  |  |
| 09 | Annual turnover audited annual turnover in last two year | Annual turnover of the company in Rs, |  |  |  |
|  |  | FY | Turn Over (Rs.) |  |  |
|  |  |  | PBT | PAT | ATO |
|  |  | 2012-2013 |  |  |  |
|  |  | 2011-2012 |  |  |  |
|  |  | 2010-2011 |  |  |  |
| 10 | Paid up capital as 01-Apr -2013 |  |  |  |  |

Signature of the Bidder

Date:

Place:

ANNEXURE-6

7.6 TECHNICAL BID (BID PARTICULARS FROM PAGE NO  .. TO PAGE NO ….)

1.	Tender Number: KVS (Hq.)/EDP(LAB)/2014

2.	Name of the Bidder: ________________________________

3.	Full Address of the Bidder: __________________________

4.	Name of the Actual Signatory;__________________________

5.	Bidder‘s proposal number and date: ___________________

6.	Name & address of the officer: __________________________

To whom all references shall be made regarding this tender

Telephone

Fax :

E-mail										Bidder Signature

Witness

Address									Name

Company

Date

Signature Name

Designation

Company

Date

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 1 | Van-De-Graff Generator Kit | Van -De Graph Generator Kit Set should consist of following components: Van-De-Graff Generator (1 No): Should consist of an Aluminum dome dia. 175mm approx. and a separate discharging Aluminum sphere dia. 75mm approx. Charge belt should be made of a special rubber for better performance & long life. It should be able to generate up to spark length 60mm approx. 4mm sockets in dome and base Should be provided along with following accessories: Safety standards for Mains Operated Equipment should be ensured. Supplier should perform High Voltage Test (At 1.5KV), Earth Test (at 25Amp) and Insulation Test (at 1000 Volts) before supplying the equipment. - Pointed wheel (1 No) - Needle on 4mm plug (1 No) - Perspex jar with pith ball (1 No) - Thread brush (1 No) - Point discharge(1 No) - Perspex pillar (1 No) - Nylon thread (1 No) - Faraday’s pail (1 No) - Neon lamp (1 No) - Electric Chimes(1 No) - Electric tester (1 No) - Flexible Lead Pair (1 No) - Plastic Stool (1 No) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure - 6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 2 | Capacitance Demonstration Kit | The Kit should consist of the following: - Parallel plates (20x20) cm pair (2 Nos) - Parallel plates (28x28) cm pair (1 No) - Glass sheet (21x21) cm (1 No) - Polystyrene sheet (21x21) cm (1 No) - LCR meter (1 No) - 4mmplug lead pair (2 Nos) - Spacing blocks (1,2,3,4,6 mm) (1 No) - Capacitor rail (2 Nos) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 3 | Diode Laser Kit | - Diode laser (1 No): Wave Length : 650nm, Output Power : <5mW, Output Mode : Continuous, Input Voltage : 3V - Optical bench (1 No): Material : Mild Steel, Scale : 50cm, graduated in mm. Saddle : Plastic molded, hole dia. 10mm - Object screen with clip (1 No): Material : Translucent, Acrylic. , Size : 300 x 300 mm, Rod : 10 mm diameter - Set of 13 objects (1 No): It consists of 13 Objects : Single slit, double slit, multiple slit 3, multiple slit 4, multiple slit 5,single tapered slit, fine grating, 4 holes, circular opaque spot, grey filter, mesh, coarse grating & grid pattern. Frame Size : 50mm x 50mm - Slit holder (1 No) - -10 cm dia 40 bi concave lens in holder (1 No) - -5 cm dia 40 bi concave lens in holder (1 No) - +10 cm dia 40 bi convex lens in holder (1 No) - +20 cm dia 40 bi convex lens in holder (1 No) - Prism table (1 No): Disc: 75mm diameter. Rod: 10 mm diameter. - Measuring tape (1 No): Length: 3m, Least Count: 1mm - Glass scale (1 No) - Cylindrical base (1 No): Material : Ferrous, Mount : Rod 10-14mm dia, Flat object up to 10mm, Groove: Slide object, 30x10mm (LxW) - Laser mount (1 No) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure - 6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 4 | Demonstration Meter Kit | The Kit should consist of the following: - Demonstration meter (1 No): Dimension: 30 x 30 x 15cm approx. Sensitivity : 5mA, 100mV Type : Moving Coil Material : Plastic Safety standards for Mains Operated Equipment should be ensured. Supplier should perform High Voltage Test (At 1.5KV), Earth Test (at 25Amp) and Insulation Test (at 1000 Volts) before supplying the equipment. - DC dial 0-1A (1 No) - DC dial 0-15V (1 No) - AC dial 0-5V (1 No) - AC dial 0-1A (1 No) - Galvanometer (1 No) - Resistance½W (1 No) - Resistance 2.2K,1W (1 No) - Power supply (1 No) - Flexible Lead pair (1 No) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 5 | Transformer Kit | The Kit should consist of the following: - Clamp base (1 No) - 300Turn Coil (1 No) - 600Turn coil (2 Nos) - 1200Turn coil (1 No) - 3600Turn coil (1 No) - 12000Turn coil (1 No) - U&I Core, section 32X25mm (1 No) - Multimeter (2 Nos) - Connecting Leads 50cm (Pair) (2 Nos) - Power supply (2-12 V AC) (1 No): Output Voltage 2,3,4,5,6,8,10 and 12 V AC full wave. Rectified, unsmoothed and unregulated D.C. in maximum 8 steps. Overload protection Resettable thermal trip. Working voltage 230V AC, 50Hz. Safety standards for Mains Operated Equipment should be ensured. Supplier should perform High Voltage Test (At 1.5KV), Earth Test (at 25Amp) and Insulation Test (at 1000 Volts) before supplying the equipment. - Quadrant shaped plane plate (1 No) - Quadrant shaped slotted plate (1 No) - Aluminum motor disc (1 No) - Vertical support rod (1 No) - Clamping screw (1 No) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 6 | Physics Experiment Kit Including Linear Air Track with Computer |  |  |  |
|  | Data Logger: | Color Touch Screen, minimum 800 x 480 pixel, 13 cm diagonal, LED backlight Rechargeable battery Built in Wi-Fi (minimum 802.11 b/g/n) and Bluetooth (minimum 2.0 and 4.0 Smart - Low Energy) Both USB and USB-Mini-ports, and Micro-SD memory card slot Minimum 200 MB memory Minimum 5 dedicated sensor inputs, 12 bit A/D converter, 100,000 samples/s sampling rate Built in GPS, 3-axis accelerometer, and ambient light, temperature and sound sensors Built in software for: Viewing data in real time (meter mode) Collecting data (with adjustable collection rates and modes) Analyzing data, including: Graphing, determining tangents, statistical analysis, curve fitting, displaying multiple graphs Must allow for drawing predictions, and for conducting peak analysis Stopwatch functions Periodic Table Audio Function Generator with 100 preloaded lab instructions Allows data to be shared via WiFi with multiple Apple, Windows and Android tablets and Smart Phone devices simultaneously Allows data to be saved and/or exported in multiple file formats. |  |  |
|  | Low-g Accelerometer: | Specifications Power: 30 mA @ 5 VDC Range: ±50 m/s² (±5 g) Accuracy: ±0.5 m/s² (±0.05 g) Frequency Response: 0–100 Hz Resolution: 0.037 m/s² |  |  |
|  | Force Sensor | Specifications Resolution: ± 10 N Range: 0.01 N ± 50 N Range: 0.05 N |  |  |
|  | Photo-gates | Specifications Power req: 5 VDC at 40 mA Infrared source: Peak at 880 nm Dimension: 75 mm gate width Output is high and LED off for unblocked gate Output is low and LED on for blocked gate Beam approximately 9 mm from the end of the gate arms |  |  |
|  | Current Probe sensor | Specifications Range: ±0.6 A Maximum voltage on any input: ±10 V Input Impedance (between inputs): 0.1 Ω Input Impedance (to ground): 10 MΩ Resolution: 0.31 mA Linearity: 0.01% Supply voltage: 5 VDC Current in amperes: Slope: –0.25 A/V Intercept: 0.625 A |  |  |
|  | Voltage Probe sensor | Specifications Input voltage range: ± 10 V |  |  |
|  | Magnetic Field Sensor: | Specifications Resolution (+/- 0.32 mT range): 12-bit : 0.0002 mT 10-bit (CBL 2): 0.0008 mT Resolution (+/- 6.4 mT range): 12-bit : 0.004 mT 10-bit (CBL 2): 0.016 mT |  |  |
|  | Temperature Probe: | Temperature range: –40 to 135°C (–40 to 275°F) Maximum temperature that the sensor can tolerate without damage: 150°C Resolution: 0.17°C (–40 to 0°C) 0.03°C (0 to 40°C) 0.1°C (40 to 100°C) 0.25°C (100 to 135°C) Temperature sensor: 20 kΩ NTC Thermistor Accuracy: ±0.2°C at 0°C, ±0.5°C at 100°C Response time (time for 90% change in reading): 10 seconds (in water, with stirring) 400 seconds (in still air) 90 seconds (in moving air) Probe dimensions: Probe length (handle plus body): 15.5 cm Stainless steel body: length 10.5 cm, diameter 4.0 mm Probe handle: length 5.0 cm, diameter 1.25 cm |  |  |
|  | Light Sensor: | Resolution: 0–600 lux: 0.2 lux 0–6000 lux: 2 lux 0–150000 lux: 50 lux |  |  |
|  | Gas Pressure sensor: | Specifications Pressure Range: 0 to 210 kPa (0 to 2.1 atm or 0 to 1600 mm Hg) Maximum pressure that the sensor can tolerate without permanent damage: 4 atm Resolution: 0.06 kPa (0.0006 atm or 0.45 mm Hg) Sensing Element: Honeywell SSCMRNN030PAAA5 Combined Linearity and Hysteresis: typical ±0.2% full scale Response Time: 100 microseconds Download the user manual for full specifications |  |  |
|  | Friction block & Roller | Friction block & Roller |  |  |
|  | Weight | Weight (50 X 10gm): Masses slotted set of 50gm weight total 500gm 9 weights and one hanger of equal weight. Made of Brass. |  |  |
|  | Metal Track: | Track for Dynamic Trolley (with Pulley). Made of Stainless Steel. Inclined Plane: It should consists of a Wooden Board with a provision to attach Pulley with Rod and change the angle with a help of another small Rod Should be provided with it which can held in a Bosshead. |  |  |
|  | Base & Rod | Mild steel rod plated, dia 10mm, length 750mm., tripod stand spread from center 87mm. |  |  |
|  | Bosshead | Square (bilateral) |  |  |
|  | Colorimeter | Specifications Range: 0 to 3 (absorbance) Useful Range: 0.05 to 1.0 (absorbance) 90% to 10% transmittance (%T) Wavelengths: 430 nm, 470 nm, 565 nm, 635 nm Resolution: 0.035 %T |  |  |
|  | Dynamic Trolley | Metallic |  |  |
|  | Pandulum Bob | 25mm (brass) |  |  |
|  | Motion detector | Specifications Range: 0.15 to 6 m Resolution: 1 mm Pendulum support; Spring; |  |  |
|  | Weight | Weight (50 x 10gm): Masses Slotted set of 50gm weight total 500gm 9 weights and one hanger of equal weight. Made of Brass. |  |  |
|  | Acrylic tube | Acrylic tube |  |  |
|  | Tube holder | Tube holder |  |  |
|  | Plug in board | Size : 31 cm X 25 cm X 4 cm, Safety Sockets : Size – 4 mm; Connected in 2 X 2 matrix; Total No. of matrix : 24 (4 X 6) For insertion of Plug-in modules for performing various experimental circuits. Very convenient and easy to use |  |  |
|  | Resistance board | Resistance board |  |  |
|  | Connecting lead | Connecting lead |  |  |
|  | Transistor | Transistor |  |  |
|  | Zener diode | Zener diode |  |  |
|  | Led | Led |  |  |
|  | Switch | Switch |  |  |
|  | Capacitor module | Capacitor module |  |  |
|  | Resistance modules | Resistance modules |  |  |
|  | Power Supply 0-16V , 1A & 5A DC | Parameters Remarks Voltage 0 -16V, 1 Amp. Continuously variable 5V. 1 Amp. Ripple Less than 25mV Display 3 Digit LED for 0-16V DC Working voltage 230V AC, 50 Hz single phase |  |  |
|  | Computer Software Specifications | Site license for entire school and includes both Windows and Macintosh versions Allows for viewing data in real time Allows for collecting data (with adjustable collection rates and modes) Allows analyzing data, including: Graphing, determining tangents, statistical analysis, curve fitting, displaying multiple graphs Must allow for drawing predictions, for mathematical modeling and for conducting peak analysis Includes both video capture and video analysis functions (both still and video) Sensors are auto-ID, and over 1,000 built-in template files are included for quick set up. Data can be imported if previously recorded from data logger, or recorded in real time. Includes XY graphs, log graphs, double-Y graphs, strip charts, and FFT graph Allows data to be shared via WiFi with multiple Apple, Windows and Android tablets and Smart Phone devices simultaneously Allows data to be exported iun multiple file formats, including GIS, text and spreadsheet formats |  |  |
|  |  | microphone sensor (1 No): |  |  |
|  |  | Electronic Key Board. |  |  |
|  | Linear Air Track | Linear Air Track with Data Logging should consist of the following components as per specifications: Linear air track: It should be Triangular section aluminum alloy track, length 200cm, with two rows of air holes through which air emerge forming air cushion on which the vehicles float. Supported on three adjustable feet. At one end of track an air inlet tube connection. Air Blower: The Compact Air Blower should have an air outlet, which should be connected to a hose. Should be supplied with flexible hose and adaptor for hose. Should have provision of speed regulator and ON/OFF switch. Regulator for airflow control. Hose: plastic, 35 mm dia Operating voltage: 220 V AC, 50 Hz Air speed: 30 ± 1 ms-1 Dimension : 230 x 185 x 250mm (L x W x H) Safety standards for Mains Operated Equipment should be ensured. Supplier should perform High Voltage Test (At 1.5KV), Earth Test (at 25Amp) and Insulation Test (at 1000 Volts) before supplying the equipment. Linear Air track accessories: Vehicle 200 g Two Plug with aluminium strip Three Plug with screen One Plug with clay One Plug with pin One Fork with rubber band Three Weight 50 g Four Plug with card(black Al sheet) One Plug with hook for attaching card One Plug with pulley One |  |  |
|  |  | Boss head (2 Nos): Object type : Square & round shape Object size : Up-to 13mm dia Material : Aluminum alloy TRIPOD STAND SPREAD FROM CENTER 87MM (2 Nos). Stand rod (2 Nos) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 7 | Digital Meter | Housed in rectangular shaped plastic body display. Size 14 x 10 x 10 cm approx. Fitted with two terminals and on / off switch. Operating voltage 9V DC battery. Display :LCD type3½digit Range DC: 19.99A & 19.99V Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 8 | Westminster Kit | The Kit is required to perform the basic experiments in Electromagnetism for a group of 8 students in classroom. - White Cotton Reel (4 Nos) - Wooden Rods (4 Nos) - Armature (44 x 30 x 12mm) (4 Nos) - Mild steel yoke (4 Nos) - Support base (100 x 47 x10mm) (4 Nos) - Split pins (8 Nos) - Rivets Plastic (24 Nos) - Shafts (6 Nos) - Slotted Aluminum Rings (4 Nos) - Compass Holder (4 Nos) - Plotting Compass (6 Nos) - Resistors10 ohm, 100 ohm (4 Nos) - Silicon Tubing (2.5mm Hole) (1 No) - Ferrite Magnet (50 x 19 x 6mm) (8 Nos) - Alnico Magnet (31 x 6 x 6mm) (4 Nos) - Bottle of iron filing (1 No) - Iron filing dispenser (4 Nos) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 9 | Newton’s second Law Apparatus | This apparatus should be able to demonstrate newton’s second law of motion. It should comprise a metal base, mounts a spring-loaded bar and two metal spheres. The spring can be compressed and locked into place by a lever. One of the spheres slides onto one end of the bar while the other is mounted in the depression adjacent to the opposite end. On release of the lever the rod imparts a horizontal velocity on the second sphere whilst the other sphere simply falls vertically. Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 10 | Hydraulic Press | It should have two graduated syringes situated on a metal frame, having capacities of 100ML and 20ML respectively with ground pistons. Both the syringes should be connected through a 3 position tap. These syringes can be exposed to atmosphere through this tap, isolated or interconnected as desired. Both the pistons should be provided with platforms for loading. This item should be used for demonstrating how fluid pressure is transmitted. Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 11 | Projectile Launcher | - Projectile launcher: Used for investigating the motion of projectile at different angle of projection (0-90). Plumb Line attached to unit for angle reading and a spring loaded rod should be provided to project the ball. The set up should be easily mountable on the edge of laboratory table. - Small balls (2 Nos) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 12 | Magnetizing/Demagnetizing Coil | To demonstrate Magnetizing or Demagnetizing iron bar or strips etc. It should have a solenoid mounted on a plastic base with switch and 4 mm sockets. Solenoid: 250 x 25mmapprox. (L x ID).Operating voltage: 12 VAC or DC at 6A Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 13 | Electrostatic Kit | The Kit should consist of the following: - Gold leaf electroscope. Gold leaf is attached by metal plate supported by an insulating bush with a 4mm socket. It should consists of a transparent glass front window and ground glass rear window and also consists of a graduated scale ( 0° - 90°). - Proof plane on insulating handle (1 No) - Metalized polystyrene sphere (4 Nos) - Electrophorus plate insulating handle (1 No) - Polythene strip (1 No) - Polythene tiles 2 - Nylon reel (1 No) - Aluminum cans (2 Nos) - Cellulose acetate strip (1 No) - Wire stirrup (1 No) - Polishing cloth (1 No) - Plated wire hook (1 No) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 14 | Field Lines and Equipotential Lines | Kit should consist of following components: - Trough (1 No) - Needle (1 No) - Rod with socket (1 No) - Multimeter (1 No) - Cylindrical base (1 No) - Bar electrode (2 Nos) - Disc electrode (2 Nos) - Ring electrode (1 No) - Stand rod (1 No) - Boss head (1 No) - Power supply (2-12 V AC) (1 No): Output Voltage 2,3,4,5,6,8,10 and 12 V AC full wave. rectified, unsmoothed and unregulated D.C. in maximum 8 steps. Overload protection Resettable thermal trip. Working voltage 230V AC, 50Hz. Safety standards for Mains Operated Equipment should be ensured. Supplier should perform High Voltage Test (At 1.5KV), Earth Test (at 25Amp) and Insulation Test (at 1000 Volts) before supplying the equipment. - Flexible plug lead (set) (2 Nos) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 15 | DIA- PARA- AND FERROMAGNETISM | Kit should consist of following components: - Power Supply 30V DC,10A (1 No) - U-Core (1 No) - Pole piece with hole(pair) (1 No) - Pointed Attachment for pole pieces(pair) (1 No) - Coil 250 turns ( 2nos) - ‘A’ shaped Base (1 No) - Rod ‘L’ shaped (1 No) - Attachment assembly (1 No) - Ni, Bi and Al sample (1 No) - Digital Multimeter (1 No) - Flexible Plug lead, Red (1 No) - Flexible Plug lead, Black (2 Nos) - Flexible plug lead, yellow (1 No) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 16 | Force Table | - Disc graduated in degrees scale (1 No) - Dual scale provided with an arrangement to take readings clockwise or anticlockwise. Disc diameter: 400mm. free movement of Pulley to reduces friction. Precise measurement of angle with the built-in-scale. - Pulleys with clamp (4 Nos) - Detachable legs (1 No) - Tripod Base (1 No) - Slotted weight Set (50gx9) (4 Nos) - Balance Pin (1 No) - S- Shaped hook (4 Nos) - Oring with thread (4 Nos) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 17 | Ring Launcher | Ring Launcher should be able to demonstrate the Lenz's law and effects of electromagnetically induced currents will consist of following equipments. - Base Unit for Ring Launcher (1 No) - Aluminum ring &slit (1 No) - Acrylic ring (1 No) - Coil with bulb (1 No) Safety standards for Mains Operated Equipment should be ensured. Supplier should perform High Voltage Test (At 1.5KV), Earth Test (at 25Amp) and Insulation Test (at 1000 Volts) before supplying the equipment Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 18 | Compact Wave Tank | Compact wave Tank Integrated wave-generator and strobe to demonstrate the phenomena of reflection, refraction, interference and diffraction of water-waves in a easy to use set-up. This set-up consists of : Ripple Tank Base Unit (Qty. - 1): Size : 310 mm X 245 mm X 155 mm Frequency : 50 – 250 Hz with a resolution of 1 Hz For digitally controlled wave and strobe generation provided with two nos of 3-digit Led display (each for wave and strobe). Wave and strobe frequency can be controlled independently or synchronously. Wave Tank (Qty – 1) Size : 110 mm X 110 mm X 50 mm (Approx) Power adapter (Qty. - 1) Accessories set: (To be provided in the integrated compartment of the base unit with one number each.) Single Point dipper (Qty. 1) Double Point Dipper(Qty. 1) Bar Dipper (Qty. 1) Curved Reflector (Qty. 1) Pair of Straight Barrier (Qty. 1) Convex Glass Shape (Qty. 1) Concave Glass Shape (Qty. 1) Triangular Glass Shape (Qty. 1) Rectangular Glass Shape (Qty. 1) Trapezoidal Glass Shape (Qty. 1) Dropper (Qty. 1) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 19 | Ray Optics Kit | - Light Box (1 No): Made of plastic for ray tracing and color mixing experiments. It has a fixed condenser lens for providing parallel rays. Fixed mirrors are used to reflect light. Operating voltage 10-12V AC/DC, Lamp -halogen 12V, 21W, Box dimensions: 17.5 x 7 x 7cm approx. - Power supply (2-12 V AC) (1 No): Output Voltage 2,3,4,5,6,8,10 and 12 V AC full wave. rectified, unsmoothed and unregulated D.C. in maximum 8 steps. Overload protection Resettable thermal trip. Working voltage 230V AC, 50Hz. Safety standards for Mains Operated Equipment should be ensured. Supplier should perform High Voltage Test (At 1.5KV), Earth Test (at 25Amp) and Insulation Test (at 1000 Volts) before supplying the equipment. - 1 & 2 Slots Diaph. (1 No) - 3 & 5 Slots Diaph. (1 No) - Right Angled Prism (1 No) - Plano Concave Lens (1 No) - Plano Convex Lens (1 No) - Trapezoid acrylic body (1 No) - Semi Circular body (1 No) - Parabolic Mirror (1 No) - Plane Mirror (1 No) - Set of colour filters (1 No) - Flexible Lead (Set) (1 No) - Optical disc (1 No) - Magnetic board (1 No) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 20 | Laser Ray Kit | Laser Ray kit should consist of following Components packed in a box strictly as per specifications. It should be able to Vertically demonstrate various optical phenomenon like working or Human Eye with its deformities, photographic camera, Galileo Telescope, Kepler Telescope etc. - Diode laser box (1 No): It should consist of 5 independent laser modules with peak wavelength of 635nm. - Power adaptor (1 No) - Beam selector (1 No) - Human eye sheet (1 No) - Photo camera sheet (1 No) - Galilean telescope sheet (1 No) - Kepler telescope sheet (1 No) - Spherical aberration sheet (1 No) - Periscope sheet (1 No) - Hartles circle sheet (1 No) - Bi-convex lens no 1 (1 No), Bi-convex lens no 2 (1 No), Bi-convex lens no 3 (1 No), Bi-convex lens no 4 (1 No), Bi-concave lens no 5 (1 No), Plane convex lens r=45mm (1 No), Plane convex lens r=75mm (1 No), Plane concave lens (1 No) - Concave mirror (1 No) - Convex mirror (1 No) - Plane mirror (1 No) - Rectangular slab (1 No) - Prism (1 No) - Optical Fiber (1 No) - Magnetic board (1 No) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 21 | Bell Experiment | Kit should consist of following components: - Jar (1 No) - Pump plate (1 No) - Electric bell (1 No) - Rubber stopper with two socket (1 No) - Tubing (1 No) - Power supply (1 No) - Connecting lead black 1m (1 No) - Connecting lead red 1m (1 No) - Vacuum pump (1 No) - Magdeburg hemisphere (1 No) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 22 | Law Of Resistance Board | Kit should consist of following components: - Resistance board (1 No) - 1m, constantan wires 24SWG (1 No) - 1m, constantan wires 30SWG (1 No) - 1m,iron wires 30SWG (1 No) - 1m,copper wires 30SWG (1 No) - Multimeter (2 Nos) - Connecting Lead black 50cm (2 Nos) - Connecting Lead black 100cm (1 No) - Connecting Lead red 50cm (2 Nos) - Connecting Lead red 100cm (1 No) - POWER SUPPLY (1 No) Ideal for general purpose applications where a low voltage study power supply is required e.g. for equipments with lamps and resistances. TECHNICAL SPECIFICATION Output Voltage: 1.5, 3, 4.5, 6, 7.5, 9, 10.5 and 12 V AC full wave rectified, unsmoothed and unregulated D.C. Overload protection: Resettable thermal trip. Working voltage: 220 V AC, 50 Hz single phase. Output: 1.5 to 12 V in 8 steps. Safety standards for Mains Operated Equipment should be ensured. Supplier should perform High Voltage Test (At 1.5KV), Earth Test (at 25Amp) and Insulation Test (at 1000 Volts) before supplying the Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 23 | Optics Kit | Optics kit should consist of following components strictly as per specifications: 1. Source (Qty. - 1) : LED Matrix (5 X 3 bright LEDs) to generate patterns (power adapter included). Pattern selection : By thumbwheel switch. LenLenses (Qty. - 4) : Convex :Φ = 5 cm;f = 20 cm (Approx.) Convex :Φ = 5 cm;f = 10 cm. (Approx.) Concave :Φ = 5 cm;f = 5 cm (Approx.) Concave : Φ = 5 cm;f = 10 cm (Approx.) 3. Mirrors (Qty. - 3) : Concave (Qty. - 1) : Φ = 5 cm; f = 15 cm.(Approx.) Convex (Qty. - 1) : Φ = 5 cm; f = 10 cm. (Approx.) Flat (Qty. - 1) : Size : 65mm X 17 mm X 1.6 mm [Approx.] 4. Screen (Qty. - 1) : 30 cm X 30 cm (approx.) Acry white translucent screen with holder(10 mm rod) for viewing image. 5. Cylindrical Bases (Qty. - 4): Material : Ferrous;Size : 50 mm X 55 mm (Φ X h) [Approx.] Weight : 850 g (approx.)(To easily mount various optical components[source, mirrors, lenses, screen]) with groove 6. Scale(100 cm) (Qty. - 1): To measure distances between optical components. 7. Lens/Mirror Holder(Qty. - 6) : To hold the optical components with retaining ring. 8. Power Adapter (Qty. - 1): 5V DC Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 24 | Melting Point Apparatus | Melting point unit (1 No) should be capable of determining repeatable melting point of different compounds up to 400°C in 5 minutes by continuously adjustable with built-in variable transformer. Temperature resolution 0.1°C with low mass thermocouple and precision thermometer. Its housing should be made of aluminum. It should be able to accepts up three capillaries. Samples should be illuminated and clearly visible through the precision 6 X power lens. Operatable at 220VAC. Safety standards for Mains Operated Equipment should be ensured. Supplier should perform High Voltage Test (At 1.5KV), Earth Test (at 25Amp) and Insulation Test (at 1000 Volts) before supplying the equipment. Additional items should be provided: - Digital thermometer (1 No) - Capillaries 3” long (1 pkt) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 25 | Kit for Magnetism Experiments | Magnetic Kit should be provided with the following components in a box to perform Basic Experiments in Magnetism. - Test tube (1 No) - Bar magnet (1 No) - Bar Magnet with red marked north pole (1 No) - Cylindrical magnet (1 No) - Knitting needle (1 No) - Spool of thread (1 No) - Plastic box small (1 No) - Wooden disc (1 No) - Rubber eraser (1 No) - Sheet of copper (1 No) - Sheet of iron (1 No) - Sheet of cardboard (1 No) - Piece of cloth (1 No) - Floating platform for compass needle (1 No) - Compass needle (1 No) - Compass card (1 No) - Hiking compass (1 No) - Mini waggons for magnets (1 No) - Floating platform for bar magnet (1 No) - Filter bowl (1 No) - Aluminium screws (1 No) - Paper clips (1 No) - Nails (10 Nos) - Iron screws (3 Nos) - Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 26 | Mechanics Kit | Kit should consist of following components: - Base Support (2 Nos) - Rod 35cm (2 Nos) - Rod with hole 40cm (1 No) - Rod 25cm (1 No) - Rod 50cm (2 Nos) - Connecting rod 1 - Double scale with bosshead (mm) (1 No) - Bosshead (4 Nos) - Beam balance with needle pointer (1 No) - Pan with hook (2 Nos) - Solid aluminium cylinder (1 No) - Beaker 250ml (1 No) - Graduated cylinder 100ml (1 No) - Archimedes bucket (1 No) - Weight box (1 No) - A scale with clip (1 No) - S-shaped hook (2 Nos) - Dynamometer 1.5N (1 No) - Dynamometer 3N (1 No) - Friction wooden block (1 No) - Digital watch (1 No) - A spring 1N (1 No) - A spring 2.5N (1 No) - A pair of indicator (1 No) - A aluminum parallelogram (1 No) - Meter tape (1 No) - A thread 10m (1 No) - Trolley Plash (1 No) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 27 | Free Fall Apparatus | Kit should consist of following components: - ‘g’ by free fall apparatus (1 No) - Digital Timer with power Adapter – 1 No.: Display : 2 line 16x2 Alphanumeric LCD display with backlit. Time Resolution : 0.1 millisecond. Interface : USB and Supplied with Adapter. Measurement Modes : Time, Speed, Accl, and count Mode. Data Logging : Built-in storage for 99 readings in the measurement modes. - Photogates – 2 Nos: Narrow beam infrared connected directly to Digital Timer. - Accessories : 1b, 2b, 3b and 10b pickets, and mass set. - Lead, black(200cm) (1 No) - Lead, red(200cm) (1 No) - 2 L Picket (1 No) - Steel Ball (1 No) - Pendulum bob (Brass) (1 No) - Pendulum bob (Iron) (1 No) - Picket fence ten slits (1 No) - Solenoid driver (1 No) - Pendulum support (2 Nos) - Thread reel (1 No) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 28 | Linear Air Track with Timer | Linear Air Track with Timer should consist of the following components as per specifications: Linear air track: It should be Triangular section aluminum alloy track, length 200cm, with two rows of air holes through which air emerge forming air cushion on which the vehicles float. Supported on three adjustable feet. At one end of track an air inlet tube connection. Air Blower: The Compact Air Blower should have an air outlet, which should be connected to a hose. Should be supplied with flexible hose and adaptor for hose. Should have provision of speed regulator and ON/OFF switch. Regulator for airflow control. Hose: plastic, 35 mm dia Operating voltage: 220 V AC, 50 Hz Air speed: 30 ± 1 ms-1 Dimension : 230 x 185 x 250mm (L x W x H). Safety standards for Mains Operated Equipment should be ensured. Supplier should perform High Voltage Test (At 1.5KV), Earth Test (at 25Amp) and Insulation Test (at 1000 Volts) before supplying the equipment. Linear Air track accessories: Vehicle 200 g Two Plug with aluminium strip Three Plug with screen One Plug with clay One Plug with pin One Fork with rubber band Three Weight 50 g Four Plug with card(black Al sheet) One Plug with hook for attaching card One Plug with pulley One Photogate sensors (2 Nos) and Digital timer (1 No): Display : 2 line LCD Type : Micro controller based Time resolution : 0.1 milli second Mode : Time, Speed & Acceleration Photogate : 2 Nos. Interface : USB Operating voltage : 5V DC Photogate detector : Infra-Red Boss head (2 Nos): Object type : Square & round shape Object size : Up-to 13mm dia Material : Aluminium alloy Tripod Base (2 Nos) Stand rod (2 Nos) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 29 | Electricity Kit | Kit should consist of following components: - ‘Wall thermometer Alcohol filled (1 No) - Iron nail big (1 No) - Terminal clips made of Brass (2 Nos) - Copper ring (1 No) - Rubber rod (1 No) - Wooden block disc shape (1 No) - Brass screw (1 No) - Aluminium rivet (1 No) - Marble block small (1 No) - Piece of Porcelain block (1 No) - Carbon block (1 No) - Nail50mmlong (1 No) - Piece of cord (1 No) - Spool of copper wire PVC insulated (1 No) - Bare copper wire (1 No) - Nichrome wire grey cotton insulated (1 No) - Bulbs 3.8 Volts screw type (10 Nos) - Battery square 4.5 Volt cell holder (1 No) - Bulb holders plastic (5 Nos) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature		Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 30 | Heat And Thermometer Kit | Heat of Thermometer consist of follwing components in a box. - Thermometer without graduation (1 No) - Thermometer with graduation (1 No) - Wall thermometer (1 No) - Insulating case for beaker (1 No) - Plastic bowel (1 No) - Erlenmeyer flask (1 No) - Food coloriser (1 No) - Plastic dropper (1 No) - One glass tube 165 x 5mm (1 No) - Beaker glass 100ml (2 Nos) - Beaker (graduated plastic) 100ml (1 No) - Bridge shaped stand (1 No) - Candle in metal holder (2 Nos) - Pegs (3 Nos) - Rubber stopper with bore (1 No) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 31 | Basic Electricity Kit | Basic Electricity Kit should be provided with following components for vertical demonstration of Basic Electricity Experiments in the Class. Each component should be fitted with Magnet. Component Name and Symbol should be printed on the each component. - Cell holder (3 Nos) - Bulb with holder (3 Nos) - Lead4mmred 10cm (3 Nos) - Lead4mmblack 10cm (3 Nos) - Lead4mmred 25cm (1 No) - Lead4mmblack 25cm (1 No) - Push switch (1 No) - Steel wool (1 No) - Universal clips (1 No) - Rheostat (1 No) - Insulated wire (1 No) - Electrode holder with 2 carbon rods (1 No) - Soft iron bar (1 No) - Compass (1 No) - Change over switch (1 No) - Resistance (1 No) - Diode (1 No) - Crocodile clips (2 Nos) - Magnetic Board (1 No) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 32 | Law of Motion Kit | The Law of Motion Kit should consist of following equipments strictly as per Specifications: 1. Digital Timer with power Adapter – 1 No.: Display : 2 line 16x2 Alphanumeric LCD display with backlit. Time Resolution : 0.1 millisecond. Interface : USB and Supplied with Adapter. Measurement Modes : Time, Speed, Accl, and count Mode. Data Logging : Built-in storage for 99 readings in the measurement modes. 2. Photogates – 2 No.s: Narrow beam infrared connected directly to Digital Timer. Accessories : 1b, 2b, 3b and 10b pickets, and mass set. 3. Dynamic Trolley – 2 No.s : Material : Aluminium; Size : 155 mm X 77 mm X 45 mm (approx); Weight : 680 g (approx).Mettalic and Ultra-low friction bearing and tapered wheels.Provision to attach additional load, ticker tape, velcro pads and a plunger for producing impulses and explosions. 4. Track – 1 No. : Size :120 cm X 12 cm X 5 cm (approx.); Weight : 3.00 Kg (approx). Stainless Steel, low friction with linear grooves for smooth motion of the trolley and pulley at one end and Graduated in mm. 5. Accessories : Tripod Base – 2 No.s, Boss Head (Bilateral) – 2 No.s, Stand Rod –2 No.s, Masses and Detachable Rod – 1 No., Picket Fence – 1 No. Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

nnexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 33 | Biology Model Set for Junior Science Lab |  |  |  |
|  | DNA Model | It should be Plastic / Fibre moulded and mounted on wooden board. |  |  |
|  | Heart Model | It should be made of Plastic / Fibre glass. It should is dissectable into four parts for easy identification of all parts. Model must show: Right Atrium, Left Atrium, Right Ventricle, Left Ventricle, Superior Vena Cava, Inferior Vena Cava, Aorta, Pulmonary Arteries, Pulmonary Vein, Pulmonary Valve, Mintral Valve, Tricuspid Valve, Aortic Valve. Mounted on a plastic base. |  |  |
|  | Blood Circulatory | It should be made of Plastic / Fibre Glass. Model should be able to demonstrate:- Carotid Artery, Carotid Vein, Arch of Aorta, Brachial, Artery, Basilic Vein, Iliac Arteries, Iliac Veins, Femoral Arteries and Femoral Vein. All parts should be numbered for easy identification. |  |  |
|  | Human Excretory System | It should be made of Plastic / Fibre Glass. Model should be able to demonstrate: Kidney, Pelvis of Ureter, Renal Artery, Renal Vein, Calyx, Cortex, Ureter, Urinary Bladder, Trigone, Urethra. Numbered with english key card. Mounted on a wooden board. |  |  |
|  | Human Kidney | It should be made of Plastic / Fibre Glass. Model should be able to demonstrate:- Ureter, Pyramid, Major Calyx, Cortical Substance, Minor Calyx, Artery and Vein, Pelvis & Papilla. Mounted on a wooden board. Mounted on wooden board. |  |  |
|  | Kidney Model, 2 Parts (Dissectible) | It should be of Natural size, made of durable plastic the kidney model should be separated into two parts, longitudinal section with gland, mounted on a stand. |  |  |
|  | Human Teeth | It should be made of Plastic / Fibre Glass. Model should be able to demonstrate: Mandivular Teeth (Incisor-One), Incisor- Two, Canine, Premolar-One, Premolar- Two, Molar-One, Molar-Two, Molar-Three, Gum, Root Canal and Blood Vessel & Nerves. All parts are numbered for easy identification. Mounted on a wooden base. |  |  |
|  | Human Eye Model | It should be made of Plastic / Fibre Glass. Model should be able to demonstrate: Sclera, Cornea, Lens, Muscles, Iris, Retina, Vitreous Humour, Blind Spot, Optic Nerve, Pupil.Numbered with english key card. Mounted on a plastic base. |  |  |
|  | Digestive System | It should be made of Plastic / Fibre Glass. Model should be able to demonstrate: Mouth, Teeth, Palate, Tongue, Pharynx, Oesophagus, Stomach, Liver, Gall Bladder, Duodenum, Pancreas, Spleen, Large Intestines, Small Intestines, Appendix and Rectum.All parts are numbered for easy identification. |  |  |
|  | Respiratory System | It should be made of Plastic / Fibre Glass. Model should be able to demonstrate: Nasal Septum, Concha, Palate, Tongue, Trachea, Right Primary Bronchus, Left Primary Bronchus, Right Lung, Left Lung, Bronchiole and Diaphragm.All parts are numbered for easy identification. Mounted on a wooden board. |  |  |
|  | Animal Cell | It should be made of Plastic / Fibre Glass. Model should be able to demonstrate:- Secretory Granules, Endoplasmic reticulum, Hyaloplasm, Cell Membrane, Mitochondria, Golgi Bodies, Centrosome, Nuclear Membrane, Nucleus, Nucleolus, Vacuole, Tonoplast, Sap, Starch Grains and Fat Droplets. All parts numbered with English key card. Mounted on a wooden base. |  |  |
|  | Flower Section Model | It should be made of moulded plastic showing all parts of flower. The whole unit should be situated on a rectangular base. Model clearly shows 5 petals of corolla, 5 sepals of calyx, Ovary and 5 Anthers. All parts should be taken out separately. |  |  |
|  | Plant Cell | It should be Made of Plastic / Fibre Glass. Model should be able to demonstrate: -Cell wall, microtubules, plasma, membrane, plasmodermis, chloroplast, mitochondria, golgi complexes, free ribosomes, vacuole, cytoplasmic matrix, smooth endoplasmic reticulum, nucleolus, nucleus and rough endoplasmic reticulum. |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 5 Marks | (A 95% - 99% )2 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Total Score (TS) obtained by the Bidder (A): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 34 | Weighing Scale | Capacity : 700gm Sensitivity: 0.1gm Digital Display Operatable by suitable adaptor / cells. Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 35 | Biology Model set |  |  |  |
|  | Kidney Model, 2 Parts (Dissectible) | It should be of Natural size, made of durable plastic the kidney model should be separated into two parts, longitudinal section with gland, mounted on a stand. |  |  |
|  | Ear Model, 6X (Dissectible) | Enlarged about 3 times, durable plastic, showing outer and inner ear. The parts of temporal bone and auditory canal are removable. The labyrinth is also removable and opened, on a base. |  |  |
|  | Eye Model, 6X (Dissectible) | Enlarged about 6 times, durable plastic, separated into two hemispheres, 2 removable lens, iris, cornea, vitreous body, mounted on a stand. |  |  |
|  | Spinal Cord | Showing sections of spinal cord. Mounted on board. |  |  |
|  | Fifty Cervical Vertebra | It is found in the neck. Group of seven cervical vertebra are present in the neck. It has a short axis like peg of bone around which the head and atlas pivot during shaking. |  |  |
|  | Human Brain 4 Parts | Made of Plastic / Fibre Glass. All structures are numbered and identified. Various details shown include :- Spinal Cord, Cerebel lum, Corpus callosum, Lateral ventricle, Temporal & Frontal lobe, Parietal and occipital lobe, Medulla Oblongata, Thalamus & Pituitary Gland. |  |  |
|  | Elbow Joint | Accurately moulded articulated model on plastic base. Radius and ulna are the two bones of the lower part of the arm. Radius is concerned with bending and straightening of the elbow. Showing radius and ulna. Upper end of ulna grasp the lower end of the humerous. |  |  |
|  | Shoulder Joint | Accurately moulded articulated model on plastic base. Humerous is the bone of the upper arm with a knob like upper end forming a ball to fit into the ball & socket joint of shoulder. Showing humerous, scapula and clavicle. |  |  |
|  | Brain With Arteries, 9 Parts (Dissectible) | Natural size, durable plastic with showing the arterial networl of vessels. Both halves can be separated into following: 2 Temporal and Occipital Lobes, 2- Medulla, 2-Cerebellum, 2 Basilar artery. |  |  |
|  | HIP Joint (Ball And Socket Joint ) | Accurately moulded articulated model on plastic base. Showing ilium, head of femur (ball) and acetabulum (socket). |  |  |
|  | DNA Model | It should be plastic moulded and mounted on wooden board. |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (TS > 99%) 5 Marks | (TS 95% - 99% )2 Marks | (TS <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Total Score (TS) obtained by the Bidder (A): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 36 | Biology Experiment Kit with computers will include following components: |  |  |  |
|  | Data Logger (1 No): | Color Touch Screen, minimum 800 x 480 pixel, 13 cm diagonal, LED backlight Rechargeable battery Built in Wifi (minimum 802.11 b/g/n) and Bluetooth (minimum 2.0 and 4.0 Smart - Low Energy) Both USB and USB-Mini-ports, and Micro-SD memory card slot Minimum 200 MB memory Minimum 5 dedicated sensor inputs, 12 bit A/D converter, 100,000 samples/s sampling rate Built in GPS, 3-axis accelerometer, and ambient light, temperature and sound sensors Built in software for: Viewing data in real time (meter mode) Collecting data (with adjustable collection rates and modes) Analyzing data, including: Graphing, determining tangents, statistical analysis, curve fitting, displaying multiple graphs Must allow for drawing predictions, and for conducting peak analysis Stopwatch functions Periodic Table Audio Function Generator Includes over 100 preloaded lab instructions Allows data to be shared via WiFi with multiple Apple, Windows and Android tablets and Smart Phone devices simultaneously Allows data to be saved and/or exported in multiple file formats. |  |  |
|  | Software (1 No) | Computer Software Specifications Site license for entire school and includes both Windows and Macintosh versions Allows for viewing data in real time Allows for collecting data (with adjustable collection rates and modes) Allows analyzing data, including: Graphing, determining tangents, statistical analysis, curve fitting, displaying multiple graphs Must allow for drawing predictions, for mathematical modeling and for conducting peak analysis Includes both video capture and video analysis functions (both still and video) Sensors are auto-ID, and over 1,000 built-in template files are included for quick set up. Data can be imported if previously recorded from data logger, or recorded in real time. Includes XY graphs, log graphs, double-Y graphs, strip charts, and FFT graph Allows data to be shared via WiFi with multiple Apple, Windows and Android tablets and Smart Phone devices simultaneously Allows data to be exported iun multiple file formats, including GIS, text and spreadsheet formats |  |  |
|  | O2 sensor (1 No) | The O2 Gas Sensor should includes a 250 mL bottle that can be used to study the rusting of iron or as a respiration chamber for monitoring plants and insects. Measurement Range: 0–27% (0-270 ppt) Accuracy (@ Standard Pressure 760 mm Hg): +/- 1% volume O2 Resolution: 0.01% Response Time: ~12 seconds to 90% of final value Warm-Up Time: Less than 5 seconds to 90% of final value Pressure Effect: Directly proportional Vout = Vout (standard) x (P/1013) Pressure range: 0.5 atm to 1.5 atm Output Signal Range: 0 to 4.8 VDC; 2.7 to 3.8 VDC @ 21% O2 Output Impedance: 1 KΩ Input Voltage: 5 VDC +/–0.25 VDC Gas Sampling Mode: Diffusion Normal Operating Temperature Range: 25°C (±5°C) Operating Temperature Range: 5 to 40°C (with calibration) Operating Humidity Range: 0 to 95% RH Storage Temperature Range: –20 to +60°C Dimensions: Sensor Tube: 45 mm length, 28 mm OD; total length: 120 mm |  |  |
|  | CO2 sensor (1 No) | Specifications Response time: 95% of full-scale reading in 120 seconds Warm-up time: 90 seconds Pressure effect: 0.19% of reading/mm of Hg from standard pressure Output signal range: 0-4.0 V Gas sampling mode: diffusion Normal operating temperature range: 25°C (±5°C) Operating humidity range: 5–95% (non-condensing) Storage temperature range: –40 to 65°C Measurement Range: Low range: 0 to 10,000 ppm CO2 High range: 0 to 100,000 ppm CO2 Typical Accuracy (at standard pressure, 1 atm): Low range: 0 to 1,000 ppm: ±100 ppm 1,000 to 10,000 ppm: ±10% of reading High range: 0 to 1,000 ppm: ±100 ppm 1,000 to 100,000 ppm: ±20% of reading Resolution (LabQuest 2, LabQuest, LabQuest Mini, Go!Link, LabPro): 0 to 10,000 ppm CO2: 3ppm 0 to 100,000 ppm CO2: 30ppm |  |  |
|  | pH sensor (1 No) | Specifications Type: Sealed, gel-filled, epoxy body, Ag/AgCl Response time: 90% of final reading in 1 second Temperature range: 5 to 80°C 12 mm OD Range: pH 0–14 Resolution: 0.005 pH units Isopotential pH: pH 7 (point at which temperature has no effect) |  |  |
|  | Temperature Probe (1 No)` | Temperature range: –40 to 135°C (–40 to 275°F) Maximum temperature that the sensor can tolerate without damage: 150°C Resolution 0.17°C (–40 to 0°C) 0.03°C (0 to 40°C) 0.1°C (40 to 100°C) 0.25°C (100 to 135°C) Temperature sensor: 20 kΩ NTC Thermistor Accuracy: ±0.2°C at 0°C, ±0.5°C at 100°C Response time (time for 90% change in reading): 10 seconds (in water, with stirring) 400 seconds (in still air) 90 seconds (in moving air) Probe dimensions: Probe length (handle plus body): 15.5 cm Stainless steel body: length 10.5 cm, diameter 4.0 mm Probe handle: length 5.0 cm, diameter 1.25 cm |  |  |
|  | Gas Pressure sensor (1 No) | Specifications Pressure Range: 0 to 210 kPa (0 to 2.1 atm or 0 to 1600 mm Hg) Maximum pressure that the sensor can tolerate without permanent damage: 4 atm Resolution: 0.06 kPa (0.0006 atm or 0.45 mm Hg) (LabQuest 2, LabQuest, LabQuest Mini, Go!Link, LabPro) Sensing Element: Honeywell SSCMRNN030PAAA5 Combined Linearity and Hysteresis: typical ±0.2% full scale Response Time: 100 microseconds Download the user manual for full specifications |  |  |
|  |  | Clamp and Ring stand (1 No) |  |  |
|  |  | Aluminum foil (1 No) |  |  |
|  |  | Ring Lamp (1 No) |  |  |
|  |  | String (1 No) |  |  |
|  |  | 1L & 600 mL Beaker (1 No) |  |  |
|  |  | 4 nos of 10x100 mm test tube with rack (1 No) |  |  |
|  |  | Thermometer (1 No) |  |  |
|  |  | Pipette 5 ml (1 No) |  |  |
|  |  | Meter stick (1 No) |  |  |
|  |  | One hole Rubber stopper assembly (1 No) |  |  |
|  |  | Pencil (1 No) |  |  |
|  |  | 100 ml Beaker (1 No) |  |  |
|  |  | 10 ml pipette (1 No) |  |  |
|  |  | Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 37 | PH Meter Hand Held | Should be as per following Specification: Display: 3½digit LCD Ranges: pH 0 to 14.00 Resolution: pH 0.01 Working voltage: 9V Battery Temperature Compensation : Manual 0 to 100°C Working Voltage: 9V battery Dimensions: 85 x 165 x 28mm. Sensor: Combined pH electrode Provided with 4 & 7 pH buffer tablets, buffer bottles and combination pH electrode. Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 38 | Proscope HR | TECHNICALSPECIFICATIONS: Image sensor: 1/4?high resolution 1.3 megapixel sensor Connection type:USB Image capture resolutions: 320×240 pixels 640×480 pixels 1280×1024 pixels Video capture resolutions: 320×240 pixels@30 fps 640×480 pixels@15 fps 1280×1024 pixels@3.75 fps Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 39 | Digital Zoom Stereo Microscope | Digital Zoom Stereo Microscope with integrated camera, software and USB connection to a PC. Provided with USB port,DC-12 V port(CCD power supply) and Video port (Video signal output). TECHNICAL SPECIFICATIONS: Eye piece : WF 10x Eye piece total magnification : 7x-45x Eye piece tube : Binocular,inclined 45º Pupil Distance : 55mm-75mm Objective magnification : 0.7x-4.5x Upper light : Fluorescent lamp 8W Focussing : Wheel tightness adjustable, moving range 60mm View field : ø5mm -ø30 mm Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 40 | Chemistry with Computer |  |  |  |
|  | Data Logger (1 No) | Color Touch Screen, minimum 800 x 480 pixel, 13 cm diagonal, LED backlight Rechargable battery Built in Wifi (minimum 802.11 b/g/n) and Bluetooth (minimum 2.0 and 4.0 Smart - Low Energy) Both USB and USB-Mini-ports, and Micro-SD memory card slot Minimum 200 MB memory Minimum 5 dedicated sensor inputs, 12 bit A/D converter, 100,000 samples/s sampling rate Built in GPS, 3-axis accelerometer, and ambient light, temperature and sound sensors Built in software for: Viewing data in real time (meter mode) Collecting data (with adjustable collection rates and modes) Analyzing data, including: Graphing, determining tangents, statistical analysis, curve fitting, displaying multiple graphs Must allow for drawing predictions, and for conducting peak analysis Stopwatch functions Periodic Table Audio Function Generator Includes over 100 preloaded lab instructions Allows data to be shared via WiFi with multiple Apple, Windows and Android tablets and Smart Phone devices simultaneously Allows data to be saved and/or exported in multiple file formats. |  |  |
|  | Software (1 No) | Computer Software Specifications Site license for entire school and includes both Windows and Macintosh versions Allows for viewing data in real time Allows for collecting data (with adjustable collection rates and modes) Allows analyzing data, including: Graphing, determining tangents, statistical analysis, curve fitting, displaying multiple graphs Must allow for drawing predictions, for mathematical modeling and for conducting peak analysis Includes both video capture and video analysis functions (both still and video) Sensors are auto-ID, and over 1,000 built-in template files are included for quick set up. Data can be imported if previously recorded from data logger, or recorded in real time. Includes XY graphs, log graphs, double-Y graphs, strip charts, and FFT graph Allows data to be shared via WiFi with multiple Apple, Windows and Android tablets and Smart Phone devices simultaneously Allows data to be exported iun multiple file formats, including GIS, text and spreadsheet formats |  |  |
|  | Temperature sensor (2 Nos) | Specifications Temperature range: –40 to 135°C (–40 to 275°F) Maximum temperature that the sensor can tolerate without damage: 150°C Resolution : 0.17°C (–40 to 0°C) 0.03°C (0 to 40°C) 0.1°C (40 to 100°C) 0.25°C (100 to 135°C) Temperature sensor: 20 kΩ NTC Thermistor Accuracy: ±0.2°C at 0°C, ±0.5°C at 100°C Response time (time for 90% change in reading): 10 seconds (in water, with stirring) 400 seconds (in still air) 90 seconds (in moving air) Probe dimensions: Probe length (handle plus body): 15.5 cm Stainless steel body: length 10.5 cm, diameter 4.0 mm Probe handle: length 5.0 cm, diameter 1.25 cm |  |  |
|  | pH sensor (1 No) | Specifications Type: Sealed, gel-filled, epoxy body, Ag/AgCl Response time: 90% of final reading in 1 second Temperature range: 5 to 80°C 12 mm OD Range: pH 0–14 Resolution: 0.005 pH units (LabQuest 2, LabQuest, LabQuest Mini, Go!Link, LabPro) Isopotential pH: pH 7 (point at which temperature has no effect) |  |  |
|  | Drop counter (1 No) | Description The Drop Counter should be able to precisely records the number of drops of titrant added during a titration, which is automatically converted into volume. It may be used in conjunction with other sensors, such as a pH Sensor, Conductivity Probe, or ORP Sensor to perform conductimetric or potentiometric titrations. |  |  |
|  | Gas pressure sensor (1 No) | Specifications Pressure Range: 0 to 210 kPa (0 to 2.1 atm or 0 to 1600 mm Hg) Maximum pressure that the sensor can tolerate without permanent damage: 4 atm Resolution: 0.06 kPa (0.0006 atm or 0.45 mm Hg) (LabQuest 2, LabQuest, LabQuest Mini, Go!Link, LabPro) Sensing Element: Honeywell SSCMRNN030PAAA5 Combined Linearity and Hysteresis: typical ±0.2% full scale Response Time: 100 microseconds Download the user manual for full specifications |  |  |
|  | Conductivity Probe (1 No) | Specifications Range: Low Range: 0 to 200 μS/cm (0 to 100 mg/L TDS) Mid Range: 0 to 2000 μS/cm (0 to 1000 mg/L TDS) High Range: 0 to 20,000 μS/cm (0 to 10,000 mg/L TDS) Resolution: Low Range: 0.1 μS/cm (0.05 mg/L TDS) Mid Range: 1 μS/cm (0.5 mg/L TDS) High Range 10 μS/cm (5 mg/L TDS) Accuracy using factory calibration: ±8% of full-scale reading for low range ±3% of full-scale reading for mid range ±4% of full-scale reading for high range Accuracy using custom calibration: ±2% of full-scale reading for each range Response Time: 98% of full-scale reading in 5 seconds, 100% of full-scale in 15 seconds Temperature Compensation: automatic from 5 to 35 °C Temperature Range (can be placed in): 0 to 80 °C Cell Constant: 1.0 cm-1 Description: ABS body, parallel carbon (graphite) electrodes Dimensions: 12 mm OD and 150 mm length Download the user manual for full specifications |  |  |
|  | Voltage Probe (1 No) | The Voltage Probe a bipolar sensor. The black lead is grounded along with the interface, and the sensor reports the potential difference between the red lead and ground. It should be used to measure the potential in DC or AC circuits. Specifications Input voltage range: ± 10 V |  |  |
|  |  | Glass & Plastic accessories kit (1 No) |  |  |
|  |  | Clamp & Ring Stand (1 No) |  |  |
|  | Colorimeter (1 No) | This 4-wavelength Colorimeter should measures the amount of light transmitted through a sample at a user-selectable wavelength in order to determine the concentration of a solution. Features such as automatic sensor identification and one-step calibration make this sensor easy to use. Specifications Range: 0 to 3 (absorbance) Useful Range: 0.05 to 1.0 (absorbance) 90% to 10% transmittance (%T) Wavelengths: 430 nm, 470 nm, 565 nm, 635 nm Resolution: 0.035 %T |  |  |
|  |  | Food holder (1 No) |  |  |
|  |  | Spatula (1 No) |  |  |
|  |  | Alcohol Burner & Candle (1 No) |  |  |
|  |  | 3"x5" index Card (1 No) |  |  |
|  |  | Thermometer (1 No) |  |  |
|  |  | Test Tube Rack (1 No) |  |  |
|  |  | 18x150 mm test tube (4 Nos) |  |  |
|  |  | Test Tube Clamp (1 No) |  |  |
|  |  | Rubber stopper assembly (1 No) |  |  |
|  |  | Syringe 20 ml (1 No) |  |  |
|  |  | Hot plate (1 No) |  |  |
|  |  | Ring with clamp (1 No) |  |  |
|  |  | Plastic Tubing with two connectors (1 No) |  |  |
|  |  | Two 125 ml Erlenmeyer flasks (1 No) |  |  |
|  |  | Glove (1 No) |  |  |
|  |  | Wash bottle (1 No) |  |  |
|  |  | Magnetic stirrer (1 No) |  |  |
|  |  | Stand with base (1 No) |  |  |
|  |  | Bosshead double (2 Nos) |  |  |
|  |  | 50 ml burette (1 No) |  |  |
|  |  | Test tubes (7 Nos) |  |  |
|  |  | Test Tube Rack (1 No) |  |  |
|  |  | Red and blue litmus paper (1 No) |  |  |
|  |  | Stirring rod (1 No)` |  |  |
|  |  | 250 ml Beaker (1 No) |  |  |
|  |  | Phenolphthalin indicator (1 No) |  |  |
|  |  | HCL solution (1 No) |  |  |
|  |  | 60 ml Reagent Reservoir (1 No) |  |  |
|  |  | 5 ml Pipet (1 No) |  |  |
|  |  | 10 ml graduated cylinder (1 No) |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

Annexure -  6

Technical Bid (Bid particular Annexure -6)

Note: Bidder should provide line by line Technical Commentary complying to Specifications and state deviation clearly.

The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| S.No. | Item Name | Tender Specifications | Quoted Specifications. | Deviation if Any |
| --- | --- | --- | --- | --- |
| 41 | Fractional Distillation Set | Fractional Distillation Set should consist of following components: - Fractionating column, 24/29, 24/29 (1 No) - Double neck flask, capacity 1000ml (24/29, 24/29) (1 No) - Liebig condensor,24/29,24/29 (1 No) - Burner (1 No) - Distill head (1 No) - Screw cap adapter 14/23 (1 No) - Receiving adapter,24/29 (1 No) - Receiving flask, 500ml, 24/29 (1 No) - Thermometer 0 C to 150ºC (1 No) - Thermometer 0 C to 360ºC (1 No) - Stand with clamp and bosshead (2 Nos) - Rubber tubing (1set) Detailed Instruction manual incorporating List of Experiments and operating procedure for these Experiments (To be submitted with Technical Bid). |  |  |

To be filled by Department:

Technical Score (TS):-

| Compliance to Technical Specifications (A): | (A > 99%) 3 Marks | (A 95% - 99% )1 Marks | (A <95%) 0 Mark |  |
| --- | --- | --- | --- | --- |
| Instruction Manual (B) | Provided -2 Marks | Not Provided- 0 Mark |  |  |
| Total Score (TS) obtained by the Bidder (A+B): |  |  |  |  |

Stamp										Bidder Signature

ANNEXURE-7

7.7 BID LETTER (TECHNICAL BID)

To,

The Commissioner,

Kendriya Vidyalaya Sangathan,

18, Institutional Area,

Shaheed Jeet Singh Marg,

New Delhi - 110 016.

Ref: Tender KVS (Hq.) EDP(LAB)/2014

Sir,

We declare.

i) That we have complete knowledge in implementing the project under reference

ii) That we/our principals are equipped with adequate manpower/machinery /technology for providing the services as per the parameters laid down in the Tender Document and we are prepared for live/technical demonstration of our capability and preparedness before the representatives of Kendriya Vidyalaya Sangathan.

We hereby offer to provide the Services at the prices and rates mentioned in the Commercial Bid.

1.	 Schedule for Providing Services We do hereby undertake, that, in the event of acceptance of our bid, the 	Services shall be 	provided as stipulated in the schedule to the Bid document and that we shall perform all the 	incidental services.

2 	We enclose herewith the complete Technical Bid as required by you, This includes:

a.	Details of the job undertaken as per scope of work.(Annexure-1 )

b.	Acceptance of terms & conditions contained in the tender documents (Annexure-4)

c.	Bid Particulars (Annexure-6)

d.	Bid Letter (Annexure-7)

e.	Soft Copy of the presentation on CD/DVD/Pen Drive (2 set each)

f.	Detailed Instruction manual incorporating List of Experiments and operating procedure for these 			Experiments (wherever asked in Annexure -6).

`	g.	ISO Certificate

h.	Declaration regarding Electrical Safety Standards (Annexure -8).

3 	We agree to abide by our offer for a period of 120 days from the date fixed for opening of the

Technical Bids and that we shall remain bound by a communication of acceptance within that time.

4 	We have carefully read and understood the terms and conditions of the tender and the conditions of the contract 	applicable to the tender and we do hereby undertake to provide services as per these terms and conditions. The 	deviations from the Terms of Reference are 	only those mentioned.

5 	Certified that the Bidder is a company and the person signing the tender is the duly constituted attorney.

6 	Bid Security (Earnest Money) for an amount equal to Rs, 5,000,00/- (Rupees Five Lakhs Only) is enclosed 	in the Cover containing the letter for Pre-qualifying Requirements.

7 	We do hereby undertake, that, until a formal contract is prepared and executed, this bid, 	together with your 	written acceptance thereof or placement of letter of intent awarding the Contract, shall constitute a binding 	contract between us.

Date: __________________					Signature of Bidder

Full Address:

Telephone No

Fax No

Annexure -8

DECLARATION REGARDING ELECTICAL SAFETY STANDARDS

To,

The Commissioner,

Kendriya Vidyalaya Sangathan.

18, Institutional Area,

Shaheed Jeet Singh Marg,

New Delhi - 110 016.

Sir,

We hereby declare that we (“ Name of the Company”) having address (address of the Company) have equipment and in house testing facility to conduct High Voltage Test (At 1.5KV), Earth Test (at 25Amp) and  Insulation Test (at 1000 Volts) for ensuring Safety standards for Mains Operated Equipment.

Signature of the Bidder

Date:

Place:

Stamp:

ANNEXURE -9

FINANCIAL BID

Note: The Bidder shall supply each item to 211 Nos of Schools as per Annexure (10).

| ITEM NO | ITEM NAME | UNIT PRICE | QUANTITY | AMOUNT (FOR DESTINATION) |
| --- | --- | --- | --- | --- |
| 1. | Van-De-Graff Generator Kit |  | 1 No. |  |
| 2. | Capacitance Demonstration Kit |  | 1 No. |  |
| 3. | Diode Laser Kit |  | 1 No. |  |
| 4. | Demonstration Meter Kit |  | 1 No. |  |
| 5. | Transformer Kit |  | 1 No. |  |
| 6. | Physics Experiment Kit Including Linear Air Track With Computer |  | 1 No. |  |
| 7. | Digital Meter |  | 1 No. |  |
| 8. | Westminster Kit |  | 1 No. |  |
| 9. | Newton’s Second Law Apparatus |  | 1 No. |  |
| 10 | Hydraulic Press |  | 1 No. |  |
| 11 | Projectile Launcher |  | 1 No. |  |
| 12 | Magnetizing/Demagnetizing Coil |  | 1 No. |  |
| 13 | Electrostatic Kit |  | 1 No. |  |
| 14 | Field Lines And Equipotential Lines |  | 1 No. |  |
| 15 | Dia- Para- And Ferromagnetism |  | 1 No. |  |
| 16 | Force Table |  | 1 No. |  |
| 17 | Ring Launcher |  | 1 No. |  |
| 18 | Compact Wave Tank |  | 2 Nos. |  |
| 19 | Ray Optics Kit |  | 2 Nos. |  |
| 20 | Laser Ray Kit |  | 2 Nos. |  |
| 21 | Bell Experiment |  | 1 No. |  |
| 22 | Law Of Resistance Board |  | 1 No. |  |
| 23 | Optics Kit |  | 1 No. |  |
| 24 | Melting Point Apparatus |  | 1 No. |  |
| 25 | Kit For Magnetism Experiments |  | 1 No. |  |
| 26 | Mechanics Kit |  | 1 No. |  |
| 27 | Free Fall Apparatus |  | 1 No. |  |
| 28 | Linear Air Track With Timer |  | 1 No. |  |
| 29 | Electricity Kit |  | 1 No. |  |
| 30 | Heat And Thermometer Kit |  | 1 No. |  |
| 31 | Basic Electricity Kit |  | 1 No. |  |
| 32 | Law Of Motion Kit |  | 1 No. |  |
| 33 | Biology Model Set for Junior Science Lab |  | 1 No. |  |
| 34 | Weighing Scale |  | 2 Nos. |  |
| 35 | Biology Model Set |  | 1 No. |  |
| 36 | Biology Experiment Kit With Computers |  | 1 No. |  |
| 37 | pH Meter Hand Held |  | 3 Nos. |  |
| 38 | Proscope Hr |  | 2 Nos. |  |
| 39 | Digital Zoom Stereo Microscope |  | 2 Nos. |  |
| 40 | Chemistry With Computer |  | 1 No. |  |
| 41 | Fractional Distillation Set |  | 2 Nos. |  |
|  | Total Amount : |  |  |  |

We declare that prices quoted are inclusive of all Taxes/ VAT/ Duties/ Cess / Customs/ Octroi / Loading/ Installation/ Bank Charges/ Service Tax etc. as applicable. FOR delivery at site destination (Annexure 10). C Form will not be issued.

Stamp										Bidder Signature

ANNEXURE -10

List of selected schools for the modernization of Labs in (1st phase)

| S.No. | Name of Region |  | Name of School | Total Number |
| --- | --- | --- | --- | --- |
| 1. | Agra |  | - AFS Agra No. 1 - Jhansi Cantt. 1 - Bulandshahar - Gwalior No. 2 - Kota No.1 - Gwalior No.1 - Jhansi No.3 - Kota No. 2 - Mathura Cantt | 9 |
| 1. | Ahmedabad |  | - Jamnagar No. L - Baroda AFS - Bhuj No. 1 AFS - Surat No. 1 - Gandhinagar Sec. 30 - No. 1 Shashibaug - EME Baroda - Army Bhuj - INF Lines Jamnagar | 9 |
| 3. | Bangalore |  | - KV No. 1 Vascodagama - Hebbal - Malleswaram - Belgaum Cantt Bangalore - ASC Centre (South) Bangalore - MEG & Centre - AFS Yelahanka - No. 2 Belgaum - AFS Bidar 10. Mysore 11. No.2 Mangalore 12. Hospet | 12 |
| 4. | Bhopal |  | - Ajani Nagpur - Amla AFS - Bhopal No. 2 - Indore No. 1 - Itrasi CPE - No. 1 Bhopal - Khandwa - ITBP Shivpuri | 8 |
| 5. | Bhubaneswar | - Cuttak - Sambalpur - No. 2 Nausenabagh - Malkapuram - Brahampur (Ganjam) - No.3 Bhubaneswar - Balasore - No. 2 SVN, Vizag |  | 8 |
| 6. | Chandigarh | - Jutogh Cantt. - No. 2 Ambala - 3BRD Chandigarh - No. 2 Chandimandir - Ambala Cantt. 1 - No.1 Patiala Cantt - Yol Cantt. - No. 2 Ambala - No.1 Adampur - Hamirpur |  | 10 |
| 7. | Chennai | - No. 1 Madurai - IIT Chennai - Chennai CLRI - Kalpakkam No. 1 - Minambakam - Dindigul - No. 2 Madural - Coimbatore - Ashoknagar - HAV Avadi |  | 10 |
| 8. | Dehradun | - No. HBK Dehradun - Upper Camp Dehradun - KV Muradabad - Haridwar (BHEL) - ITBP, Seemadwar, Dehradun (Uttarakhand) |  | 5 |
| 9. | Delhi | - KV No. 2 Delhi Cantt. - KV Noida - Janakpuri - Faridabad No. 1 - AGCR Colony - DL Meerut - K.N. Nagar, Ghaziabad - AFS Gurgaon - No. 3 Delhi Cantt. - JNU Campus, New Delhi - Tagore Garden - NFC Vigyan Vihar |  | 12 |
| 10. | Ernakulam | - Keltron Nagar - No. 1 Calicut - Ernakulam - Pattom (Trivendrum) - Kochi No 1 Naval Base - RB Kottayam - Thrissur - Payyannur |  | 8 |
| 11. | Guwuhati | - Khanapara - Happy Vally - Maligaon - Binaguri No1 - Sevok Road - Bongaigaon - Alipurduar |  | 7 |
| 12. | Hyderabad | - Picket - No. 1 Golkunda - Tirumal Gherry - Secundrabad (Bolarum) - Uppal No 1 - No. 2 Golconda - Hakimpet - No.1 Vijayawada - Gooty - No.1 Tirupati |  | 10 |
| 13. | Jabalpur | - Sagar No. 1 - Jabalpur OFK - Jabalpur CMM - Jabalpur No. 1 STC - Damoh - No.1 GCF, Jabalpur - No.1 Satna - Katni NKJ - No.1 Chhindwara - Ajni Nagpur |  | 10 |
| 14. | Jaipur | - Jaipur No. 1 - Jaipur No. 2 - Jodhpur AFS No.1 - Udaipur No. 1 - Bikaner No. 1 - No.1 Ajmer |  | 6 |
| 15. | Jammu | - Amritsar No. 1 - Jammu No. 1 - Jammu No. 2 - Pathankot No. 1 - Pathankot No. 2 - No.1 Srinagar |  | 6 |
| 16. | Kolkata | - Behrampur - Fortwilliam - Salt lake No. 1 - Kharagpur IIT - Ballygungu - Barrackpore No.1 - Farakka - Kancharapara No. 2 - IIM Joka - Chittranjan - Kharagpur No. 2 |  | 11 |
| 17. | Lucknow | - No. 1 Chakeri - Gomtinagar - Aliganj - JRC Barelly - AMC Centre Lucknow - Chakeri No. 2 Kanpur - IIT Kanpur |  | 7 |
| 18. | Mumbai | - No. 1 Ahmednagar - Colaba - BEG Pune - NDA Khadakvasla - INS Shivaji Lonavla - No.1 Colaba Bombay - Army Area Pune - SP Nasik |  | 8 |
| 19. | Patna | - Danapur Cantt. - Muzaffarpur - Patna No. 1 - Patna No. 2 - Jamalpur - HFC Barauni - Rajgir - Sonpur |  | 8 |
| 20. | Raipur | - Bilaspur - Jagdalpur - Korba No.3 - Durg - Raipur No. 1 - Dongargarh - No.2 Bolangir - Koraput - Ambikapur |  | 9 |
| 21. | Ranchi | - Hinoo Ranchi - Bokaro No. 1 - Bokaro Thermal - Bundamunda - Maithon Dam - Tata Nagar |  | 6 |
| 22. | Silchar | - Tarapur - Kunjban Agartala - No. 1 Imphal - Aizawl - Silchar - ONGC Srikona - Lemphelpat |  | 7 |
| 23. | Sirsa | - No. 1 Bhatinda - Jalandhar No. 1 - Jalandhar No. 2 - Hisar Cantt. - Ferozpur Cantt - No.5 Bathinda - Rohtak - No.1 Suratgarh |  | 8 |
| 24. | Tinsukia | - No. 2 Itanagar - AFS Jorhat - Duliajan - NEIST Jorhat - Dimapur - Tinsukia - Dinjan - ONGC Jorhat - No.1 Tezpur - No.1 Itanagar |  | 10 |

| 25. | Varanasi | - Allahabad New Cantt - Varanasi BHU - Gorakhpur No. 2 - Allahabad Manauri - Varanasi GTC - AFS Gorakhpur - Mau | 7 |
| --- | --- | --- | --- |
| Total |  |  | 211 |